## Slide 2: Performing PCR
05

## Slide 3: Teacher notes: Session contents
Explaining PCR | 10 min | Developing understanding of the reagents needed for, and purposes of thermal cycling involved in, PCR.
Amplifying the DNA barcode | 10 min | An introduction to the DNA barcode region (cytochrome c oxidase subunit I gene) being amplified by PCR.
Performing PCR | 25 min | Following the laboratory procedure for setting up PCR, programming the MiniPCR machine and running PCR.
Checking PCR | 10 min | Checking students’ understanding of PCR. This will need to be adjusted to support the students level of study and knowledge.

## Slide 4: Performing PCR
Explaining PCR
Amplifying the DNA barcode
Performing PCR
Checking PCR

## Slide 5: Explaining PCR
PCR stands for Polymerase Chain Reaction
A PCR is able to make copies of DNA, much as a photocopier makes copies of an image.
To understand how PCR works you need to know the basic structure of DNA.

## Slide 6: Explaining PCR
DNA is a polymer made of 2, antiparallel strands
One strand of DNA molecule – sequence reads top to bottom
Other strand of DNA molecule – sequence reads bottom to top

## Slide 7: Explaining PCR
DNA is a polymer made of 2, antiparallel strands
Nucleotides are the monomers which make up the DNA polymer
Notes: A nucleotide monomer consists of 3 parts:
A 5 carbon sugar (deoxyribose or ribose)
A phosphate group
A nitrogen-containing organic base

## Slide 8: Explaining PCR
DNA is a polymer made of 2, antiparallel strands
Nucleotides are the monomers which make up the DNA polymer
DNA has a sugar phosphate backbone, with nucleotides joined by phosphodiester bonds
Notes: In both nucleic acids it is carbon 3 and carbon 5 of the pentose sugar that form covalent bonds with the phosphate group to form the sugar-phosphate backbone

## Slide 9: Explaining PCR
DNA is a polymer made of 2, antiparallel strands
Nucleotides are the monomers which make up the DNA polymer
DNA has a sugar phosphate backbone, with nucleotides joined by phosphodiester bonds
Nucleotides from antiparallel strands form complementary base pairs (Adenine with Thymine, Cytosine with Guanine), joined by hydrogen bonds

## Slide 10: Explaining PCR
PCR stands for Polymerase Chain Reaction
A PCR is able to make copies of DNA, much as a photocopier makes copies of an image.
T
G
C
A
T
Template strand
A
T
G
C
A
Complementary strand made by PCR
Notes: So back to PCR …
If you have a single strand of DNA, PCR can make a complementary strand

## Slide 11: Explaining PCR
T
G
C
A
T
A
T
G
C
A
Template strand
Template strand
PCR stands for Polymerase Chain Reaction
A PCR is able to make copies of DNA, much as a photocopier makes copies of an image.
Notes: These 2 strands can then separate, and PCR can make the complementary strands.
When this is repeated many times, it amplifies (makes a lot more) DNA.

## Slide 12: Explaining PCR
T
G
C
A
T
A
T
G
C
A
Template strand
A
T
G
C
A
Template strand
Complementary strands made by PCR
PCR stands for Polymerase Chain Reaction
A PCR is able to make copies of DNA, much as a photocopier makes copies of an image.
T
G
C
A
T

## Slide 13: Explaining PCR
DNA template
PCR stands for Polymerase Chain Reaction
To amplify a region of DNA, a PCR must include:
DNA template
DNA primers
DNA polymerase
nucleotides
PCR buffer
magnesium ions
DNA primers
Nucleotides
DNA polymerase
PCR buffer
Magnesium ions
Mg2+
Notes: To carry out a PCR you need…

## Slide 14: Explaining PCR
PCR stands for Polymerase Chain Reaction
Copying DNA occurs in 3 stages:
Denaturation
Annealing
Extension
Denaturation

## Slide 15: Explaining PCR
PCR stands for Polymerase Chain Reaction
Copying DNA occurs in 3 stages:
Denaturation
Annealing
Extension
Annealing

## Slide 16: Explaining PCR
PCR stands for Polymerase Chain Reaction
Copying DNA occurs in 3 stages:
Denaturation
Annealing
Extension
Extension

## Slide 17
First PCR cycle |  |  | 
The double-stranded DNA is heated and denatures | Denaturation produces two single-strands of DNA | Annealing: when cooled primers anneal to the single-stranded DNA | Extension: DNA polymerase adds nucleotides and extends the primers
Explaining PCR
Notes: As the cycles progress more of the target DNA is produced.

## Slide 18
First PCR cycle |  |  |  | Second PCR cycle |  | 
The double-stranded DNA is heated and denatures | Denaturation produces two single-strands of DNA | Annealing: when cooled primers anneal to the single-stranded DNA | Extension: DNA polymerase adds nucleotides and extends the primers | Denaturation produces two single-strands of DNA | Annealing: when cooled primers anneal to the single- stranded DNA | Extension: DNA polymerase adds nucleotides and extends the primers
Explaining PCR

## Slide 19: Explaining PCR
PCR stands for Polymerase Chain Reaction
A PCR is able to make copies of DNA, much as a photocopier makes copies of an image.
DNA is copied exponentially, with the number of lengths of double-stranded DNA doubling for each cycle of PCR.
Number of PCR cycles | Lengths of dsDNA
1 | 2
2 | 4
5 | 32
10 | 1,024
20 | 1,048,576
35 | 34,359,738,368
Notes: The quantity of DNA doubles for each PCR cycle.
We will use 35 cycles of DNA. Assuming that there was 1 molecule of double-stranded DNA at the start, after 35 cycle there will be over 34 billion copies of double-stranded DNA.
So PCR is a very effective copier!

## Slide 20: Performing PCR
Explaining PCR
Amplifying the DNA barcode
Performing PCR
Checking PCR

## Slide 21: Amplifying the DNA barcode
No universal region of DNA that remains constant with a species, but shows variation between species, has been identified. Instead different DNA barcodes are used in different taxonomic groups.
Paul Hebert proposed the mitochondrial cytochrome c oxidase subunit 1 (COI) gene as an unique DNA barcode region for animals. Sequence diversity in a 650 bp region near the 5’ end of the COI gene provides strong species level resolution for different animal groups.
Hebert, P. D. N., Ratnasingham, S. and deWaard, J. R. (2003) ‘Barcoding animal life: cytochrome c oxidase subunit 1 divergences among closely related species.’ Proceedings of the Royal Society B 270; pp S96-S99.

## Slide 22: Amplifying the DNA barcode
The mitochondrial cytochrome c oxidase subunit 1 (COI) gene is a good DNA barcode because:
It is part of the mitochondrial DNA. There are multiple mitochondria per cell, but only one nucleus, so it is easier to obtain DNA barcode sequence from a small sample using mitochondrial DNA than nuclear DNA.

## Slide 23: Amplifying the DNA barcode
The mitochondrial cytochrome c oxidase subunit 1 (COI) gene is a good DNA barcode because:
COI encodes a protein involved in the electron transport chain of respiration. Use of a gene involved in a key reaction for the cell, means the rate of change in gene sequence will be slow enough to remain identical in the same species, but fast enough to vary between species.
Schematic diagram showing the mitochondrial membranes with complexes I-IV of the electron transport chain and ATP synthase. Complex IV is the cytochrome c oxidase, of which subunit 1 is a part.
Notes: Image relates to A level knowledge needed on the structure of the mitochondria and complexes involved in the ETC

## Slide 24: Amplifying the DNA barcode
Mitochondria have circular DNA located in the mitochondrial matrix. Much of the mitochondrial DNA encodes proteins and RNA involved in cellular respiration and cell reproduction.
The length of mitochondrial DNA varies between invertebrates. Mitochondrial DNA from the fruit fly Drosophila melangoster is shown as an example, with the position of the cytochrome c oxidase subunit 1 gene, used as a DNA barcode, shown.
Image from: Salminen, T. S. and Vale P. F. (2020) ‘Drosophila as a Model System to Investigate the Effects of Mitochondrial Variation on Innate Immunity’. Frontiers in Immunology 11; pp521-533.
The cytochrome c oxidase subunit 1 gene from Drosophila melangoster mitochondrial DNA
Notes: Kb = kilo bases (thousands of base pairs)

## Slide 25: Amplifying the DNA barcode
Primers have been designed that amplify a 710 base pair region near the 5’ end of the cytochrome c oxidase subunit 1 gene.
NOTE: This image is not to scale!
5’
3’
5’
3’
Cytochrome c oxidase subunit 1 gene
primer
DNA strands
Amplicon: 710 bp DNA barcode amplified by PCR
Notes: NOTE: this diagram is NOT to scale!
The ends of the strands that make up the DNA molecule are given names relating to whether they finish with the phosphate group attached to carbon 5 of the deoxyribose sugar (the 5’ end) or whether they finish with the place where a phosphodiester bond would form with carbon 3 of the deoxyribose sugar. This helps us to tell which way round the DNA molecule is.

## Slide 26: Amplifying the DNA barcode
The sequence of the primers used to amplify the 710 base pair region near the 5’ end of the cytochrome c oxidase subunit 1 gene is shown.
Invertebrate Forward primer | TGTAAAACGACGGCCAGTGGTCAACAAATCATAAAGATATTGG
Invertebrate Reverse primer | CAGGAAACAGCTATGACTAAACTTCAGGGTGACCAAAAAATCA
Primers designed by: Folmer, O., Black, M., Hoeh, W., Lutz, R. and Vrijenhoek, R. (1994) ‘DNA primers for amplification of mitochondrial cytochrome c oxidase subunit I from diverse metazoan invertebrates.’ Molecular Marine Biology and Biotechnology 3 (5); pp 294-299.
The sequence complementary to the cytochrome c oxidase subunit 1 gene is shown in red, the additional sequence added to the primer to help with DNA sequencing is shown in black.

## Slide 27: Performing PCR
Explaining PCR
Amplifying the DNA barcode
Performing PCR
Checking PCR

## Slide 28: Performing PCR
Set up your PCR following the experimental procedure.
The master mix contains the PCR buffer, magnesium ions, nucleotides and DNA polymerase.
Label | Reagent | Volume in PCR
MM | 2x PCR Master mix | 12.5 µl
Initials | DNA sample | 5.0 µl
FOR | Forward primer | 2.0 µl
REV | Reverse primer | 2.0 µl
H2O | Nuclease-free water | 3.5 µl
 | Total volume | 25.0 µl

## Slide 29: Performing PCR
Make sure one group also sets up a negative control.
The master mix contains the PCR buffer, magnesium ions, nucleotides and DNA polymerase.
Label | Reagent | Volume in PCR
MM | 2x PCR Master mix | 12.5 µl
FOR | Forward primer | 2.0 µl
REV | Reverse primer | 2.0 µl
H2O | Nuclease-free water | 8.5 µl
 | Total volume | 25.0 µl

## Slide 30: Performing PCR
Programme the MiniPCR machine to carry out the thermal cycling.
Phase | Temperature | Time | 
Initial denaturation | 94°C | 60 seconds | 
Denaturation | 95°C | 30 seconds | 35 cycles
Annealing | 50°C | 30 seconds | 
Extension | 72°C | 45 seconds | 
Final extension | 72°C | 180 seconds | 

## Slide 31: Performing PCR
Start the PCR.
You can monitor the progress of thermal cycling and how many DNA copies have been made on the computer screen.
When the PCR is finished, remove tubes to the fridge (4°C) until you are ready for electrophoresis.

## Slide 32: Performing PCR
Explaining PCR
Amplifying the DNA barcode
Performing PCR
Checking PCR

## Slide 33: Checking PCR
Use your knowledge of scientific investigations and PCR to answer the questions:
A. The negative control reaction contains all of the same reagents as the experimental PCR, except for the DNA. Why do you think this needs to be included?
A negative control doesn’t contain the template DNA, so there should not be any DNA amplified. It is used to detect contamination (for example from not changing pipette tips between adding different reagents to the PCR) or false positives by the appearance of amplified bands of DNA in this reaction when there should not be.
PCR
-ve

## Slide 34: Checking PCR
Use your knowledge of scientific investigations and PCR to answer the questions:
B. What is a buffer?
C. What is a nucleotide?
A buffer is a solution that maintains a stable pH.
Nucleotides are the monomers that join to form the DNA polymer. Each nucleotide is composed of a pentose sugar, phosphate group and nitrogenous base.
P
sugar
A
P
sugar
G
P
sugar
T n
P
sugar
T
C n

## Slide 35: Checking PCR
Use your knowledge of scientific investigations and PCR to answer the questions:
D. What type of bonds form between complementary base pairs?
E. What type of bonds form between adjacent nucleotides as part of the sugar-phosphate backbone?
Hydrogen bonds
Phosphodiester bonds, a type of covalent bond
P
sugar
A
P
sugar
G

## Slide 36: Checking PCR
Use your knowledge of scientific investigations and PCR to answer the questions:
F. What are the 3 stages of a PCR and what happens in each stage?
Denaturation – the hydrogen bonds holding the DNA strands together are broken at high temperature, so the double-stranded template becomes single-stranded.
Annealing – the single-stranded primers will form hydrogen bonds with complementary DNA sequences in the DNA template, making short double-stranded regions.
Extension – a thermostable DNA polymerase enzyme catalyses the addition of complementary nucleotides to the end of the short double-stranded region made by the primer, extending the DNA and, after many cycles amplifying the region of DNA bracketed by the primers.

## Slide 37: Checking PCR
Use your knowledge of scientific investigations and PCR to answer the questions:
G. A region of which gene is amplified in this PCR and used as the barcode for animals? Where is this gene found? What does this gene encode?
A region of the cytochrome c oxidase subunit I is the gene amplified in this project and used for barcoding animals.
This gene is part of the DNA in the mitochondrion, rather than the nucleus. Since there are thousands of copies of the mitochondrion per cell (and only one nucleus), it makes it easy to amplify by PCR from small samples.
Cytochrome c oxidase subunit I produces a protein that is involved in electron transport during respiration.

## Slide 38: Performing PCR
Explaining PCR
Amplifying the DNA barcode
Performing PCR
Checking PCR
Next session we be performing gel electrophoresis to check the success of DNA extraction and PCR and preparing samples for DNA sequencing.

## Slide 39: Thank you
Barcoding for beginners is a project by Wellcome Connecting Science, funded by a Royal Society Partnership grant.
All resources can be found on YourGenome: yourgenome.org/theme/barcoding-for-beginners
Image credits Wellcome Connecting Science